PAGE  

	[image: image1.emf]                                         


	NATIONAL CONFERENCE "TELECOM 2026"


Stand for Testing of Bi – Directional Converters in Photovoltaic Systems 

Ivan Nedyalkov, Dimitar Arnaudov, Nikolai Hinov 
Faculty of Electronic Engineering and Technologies, Technical University - Sofia

8 Kliment Ohridski bul., 1000 Sofia, Bulgaria, phone: +359 2 965 2204, e-mail: dda@tu-sofia.bg, hinov@tu-sofia.bg, i.nedialkov@icloud.com
Introduction


The purpose of this paperwork is to present a developed an experimental stand for testing different kinds of bi – directional circuits, providing a work of a supercapacitors in renewable energy systems – photovoltaic systems. A simulation model has been created of the studied bi – directional converter. For testing different circuit kinds of bi – directional converters in photovoltaic systems, an experimental stand, described in this work, has been created. The information measuring system is realized by the software LabView. In the document a comparison between the simulation and experimental results has been made.
	
[image: image2.emf]DC

DC

SC

PV Panel PV Controler

Battery

Load

NI cDAQ

PC with installed LabView

Control signal U

bat

U

L

I

ch

U

sc

U

pv


Fig.1. Block diagram of the stand for testing


1. Developing of a virtual instrument
	[image: image3.png]uvload 17,8556

2

Py
Controler

TTL outpt 1

Ubattery 12,7885

s oW,
2, 4 16
o 1

LDt

Icharge

Supercapacitor|

Usc 353616 Discharging

®




Fig.2. Front panel of the virtual instrument – control system


The measured values and the generated control pulses are displayed on the front panel of the virtual instrument. By reaching a predetermined value of the voltage over the supercapacitor, the control system generates a control signal, which stops the charge of the supercapacitor. When the voltage decrease under another predetermined value, a control pulse is generated and the charging of the supercapacitor starts again.
	[image: image4.png]B e

=) SpmandT
Foak e

> g
E
[Digtal waveform <]

data

B
Dt waverom <]

R g

data





Fig.3. Block diagram of the virtual instrument


The functions of the blocks 1 to 7 are:
1. Block 1 – this is an input device (ADC-cDAQ);

2. Block 2 – this is a comparator;

3. Block 3 – this is a comparator;

4. Block 4 – this is the graphical representation of a module with TTL outputs;

5. Block 5 – graphical indicators of the scales of the voltmeters;

6. Block 6 - logical circuit for execution of the predetermined programmed working regime of the system;

7. Block 7 – it is a virtual button for manual control.
2. Studied circuit of the bi – directional converter
On figure 4 is shown the block diagram of the studied bi – directional converter. The bi – directional converter is made of two specialized integrated circuits (U1 and U2) of DC – DC switching converters.
	
[image: image5.emf]U

1

U

2

D2

D1

L

C

f1

SC

Battery

PV Controler

PV Panel

R load

C

f2

R shunt

Constant current feedback

C

o

n

s

t

a

n

t

 

v

o

l

t

a

g

e

 

f

e

e

d

b

a

c

k

Bi – directional DC – DC converter

LabView


Fig.4. Block diagram of the studied bi – directional converter


3. Simulation and experimental results
	[image: image6.png]12v Y(n004)

v

v

v

ov-

5 V(n016)

v

v

2v4

v

ov-

1.54 AL

0.54

0.04

69.900ms  69.905ms 69.910ms 69.915ms 69.920ms 69.925ms  69.930ms  69.935ms 69.940ms  69.945ms  69.950ms




Fig.5. Simulation results of the work of the converter in charging mode.
	[image: image7.png]12v-

V(NOO1.NOD4)

v

Ve

12v-

¥(n001)

v

v

v

A1)

-6k

149.920ms

149.928ms

149.936ms

149.944ms

149.952ms

149.960ms

149.968ms

149.976ms

149.984ms

149.992ms





Fig.6. Simulation results of the work of the converter in discharging mode.

	[image: image8.png]SEINSTEK 27 13.80us  Stor® I _Recal
Defauit
_Setwp
o Recal |
Setup

Recal |,
Waveforrd

Display
Ref,

a=sy @ G Ebee foE
B 5. 6eokHz





Fig.7. Experimental results in charging mode
	[image: image9.png]TR L
Coupling

‘ Invert
i _off
R BN U S

off

Probe
X1

a=sy @ious G EpeE foE
B o a4p.081kHz





Fig.8. Experimental results in discharging mode

	
	


4. Conclusion


A universal stand for testing the combine work of a supercapacitor and battery in photovoltaic power supply system was created. The stand allows flexible programming of the working regimes of the converters on the system. We can use different kinds of converters for searching of an optimal circuits and decisions for a system by different choices. User friendly graphical interface facilitates the displaying of the process in the system and track the pros and cons of the tested circuits and systems. Adding PV simulator to the stand will allow testing the system at any time in the day and imitating of different weather conditions. 

The comparison between the experimental and the simulation results, part of them are shown from fig. 5 to fig. 8, shown sufficient accuracy for the engineering methodology.
Acknowledgment

This research was funded from the Scientific and research sector of the Technical University of Sofia under contract No.142ПД0012-03 “Study of DC – DC electric energy converters with applications in telecommunication systems.”
_1466523134.vsd
DC


DC


SC


PV Panel


PV Controler


Battery


Load


 NI cDAQ


PC with installed LabView



_1466430804.vsd
U1


U2


D2


D1


L


Cf1


SC


Battery


PV Controler


PV Panel


R load


Cf2


R shunt


Constant current feedback


Constant voltage feedback


Bi – directional DC – DC converter


LabView



